## Summary 2013
NSPI 2013- Summary of Installed Generation
| Nameplate | Net | Fuel Type | In-service
| Installed | Operating |  | Year
Thermal Units | (MW) | (MW)
Tufts Cove 1 | 100 | 81 | HFO/ N Gas | 1965
Tufts Cove 2 | 100 | 93 | HFO/ N Gas | 1972
Tufts Cove 3 | 150 | 147 | HFO/ N Gas | 1976
Pt Aconi | 165 | 171 | Petcoke/ Coal | 1994
Lingan 1 | 150 | 153 | Coal/ Petcoke | 1979
Lingan 2 | 150 | 153 | Coal/ Petcoke | 1980
Lingan 3 | 150 | 153 | Coal/ Petcoke | 1983
Lingan 4 | 150 | 153 | Coal/ Petcoke | 1984
Trenton 5 | 150 | 150 | Coal/ Petcoke | 1969
Trenton 6 | 160 | 157 | Coal/ Petcoke | 1991
Tupper 2 | 150 | 152 | Coal/ Petcoke | 1987
Port Haweksbury Biomass | 61 | 53 | Biomass | 2013
1616
Combustion Turbines
Burnside 1 | 30 | 33 | Lt. Oil | 1976
Burnside 2 | 30 | 33 | Lt. Oil | 1976
Burnside 3 | 30 | 33 | Lt. Oil | 1976
Burnside 4 | 30 | 33 | Lt. Oil | 1976
Victoria Junction 1 | 30 | 33 | Lt. Oil | 1975
Victoria Junction 2 | 30 | 33 | Lt. Oil | 1975
Tusket | 24 | 24 | Lt. Oil | 1971
Tufts Cove 4 | 47 | 49 | N Gas | 2003
Tufts Cove 5 | 47 | 49 | N Gas | 2005
Tufts Cove 6 | 49 | 49 | N Gas | 2012
369
Net Operating
Hydro |  | (MW)
Wreck Cove |  | 212
Annapolis Tidal |  | 19
Avon |  | 6.75
Black River |  | 22.51
Nictaux |  | 8.3
Lequille |  | 11.18
Paradise |  | 4.7
Mersey |  | 42.5
Sissiboo |  | 24
Bear River |  | 13.4
Tusket |  | 2.4
Roseway |  | 1.84
St Margarets |  | 10.8
Sheet Harbour |  | 10.77
Dickie Brook |  | 3.8
Fall River |  | 0.5
394.45
Total NSPI Thermal and Hydro |  | 2379.45
NSPI Wind |  | Net Operating (non firm)
Little Brook | 0.6 | 0.6 |  | 2002
Grand Etang | 0.66 | 0.66 |  | 2002
Nutby Mountain | 49.5 | 50.6 |  | 2010
Digby | 30 | 30 |  | 2010
Total NSPI Wind | 80.76 | 81.86
NSPI Total |  | 2461.31
Total IPP Contracts (Pre-2001) | 24.845 | 25.78 | Wood/Hydro
Total Existing IPP contracts (Post -2001) | 60 | 61.8 | Wind/Biomass/Landfill gas
Total Incremental IPP 2010 | 139 | 141.1
Total Incremental IPP 2011 | 1.5 | 1.5
Total Incremental IPP 2012 | 36.4 | 39.2
Total Incremental IPP 2013 | 7.99 | 7.99
Total Net Operating Capacity |  | 2738.68

## Hydro
Hydro Capacity and In-Service Year
| Net Operating | In-service
Unit/System | (Firm MW) | Year
Avon 1 | 3.75 | 1958
Avon 2 | 3 | 1929
Avon | 6.75
Gulch | 6.2 | 1952
Ridge | 4.1 | 1957
Fourth Lake | 3.1 | 1983
Bear | 13.4
Sissiboo | 5 | 1961
Weymouth 1 | 9.5 | 1961
Weymouth 2 | 9.5 | 1967
Sissiboo | 24
Methals | 3.5 | 1949
Hollow Bridge | 5.5 | 1942
Lumsden | 2.9 | 1940
Hell's Gate 1 | 3.5 | 1930
Hell's Gate 2 | 3.7 | 1949
White Rock | 3.4 | 1952
Black River | 22.5
Dickie Brook 1 | 1.2 | 1948
Dickie Brook 2 | 2.6 | 1948
Dickie Brook | 3.8
Fall River | 0.5 | 1985
Roseway 1 | 0.45 | 1974
Roseway 2 | 0.6 | 1949
Harmony | 0.75 | 1943
Roseway | 1.8
Nictaux | 8.3 | 1954
Paradise | 4.7 | 1950
Lequille | 11.2 | 1968
Upper Lake Falls 1 | 2.7 | 1929
Upper Lake Falls 2 | 2.7 | 1929
Lower Lake Falls 3 | 3.7 | 1929
Lower Lake Falls 4 | 3.7 | 1929
Big Falls 5 | 4.5 | 1929
Big Falls 6 | 4.5 | 1929
Lower Great Brook 7 | 2.25 | 1955
Lower Great Brook 8 | 2.25 | 1955
Deep Brook 9 | 4.5 | 1950
Deep Brook 10 | 4.5 | 1950
Cowie Falls 11 | 3.6 | 1938
Cowie Falls 12 | 3.6 | 1938
Mersey | 42.5
Mill Lake 1 | 1.3 | 1922
Mill Lake 2 | 1.3 | 1922
Sandy Lake 3 | 1.8 | 1928
Sandy Lake 4 | 1.8 | 1928
Tidewater 1 | 2.3 | 1922
Tidewater 2 | 2.3 | 1922
St Margarets | 10.8
Malay Falls 4 | 1.15 | 1924
Malay Falls 5 | 1.15 | 1924
Malay Falls 6 | 1.1 | 1924
Ruth Falls 1 | 2.3 | 1925
Ruth Falls 2 | 2.8 | 1925
Ruth Falls 3 | 2.3 | 1936
Sheet Harbour | 10.8
Tusket 1 | 0.8 | 1929
Tusket 2 | 0.8 | 1929
Tusket 3 | 0.8 | 1929
Tusket | 2.4
Gisborne | 3.5 | 1982
Wreck Cove 1 | 113.25 | 1978
Wreck Cove 2 | 113.25 | 1978
Wreck Cove | 212
Annapolis | 19 | 1984
Total | 394.45

## IPPS
Breakdown of IPPs
Nameplate
| Installed | Net Operating | Fuel Type | In-service
| (MW) | (MW) |  | Year
Renewables Contracts (Pre-2001)
Taylor Lumber | 0.75 | 0.75 | Biomass (wood) | 1996
Morgan Falls | 0.5 | 0.5 | Hydro | 1996
Black River Hydro | 0.23 | 0.23 | Hydro | 1996
Brooklyn Power Corp | 23.365 | 24.3 | Biomass (wood) | 1996
Total IPP Contracts (Pre-2001) | 24.845 | 25.78
Existing Renewables (Post -2001)
Halifax Renewable Energy (Mt. Uniacke Landfill) | 2 | 2 | Biogas | 2006
Atlantic Wind Power
Pubnico Point Wind Farm | 30.6 | 30.6 | Wind | 2005
Cape Breton Power
LIngan | 14 | 15.8 | Wind | 2006
Glace Bay 1B | 0.8 | 0.8 | Wind | 2005
Donkin | 0.8 | 0.8 | Wind | 2005
Confederation
Springhill | 2.1 | 2.1 | Wind | 2006
Higgins Mtn. | 3.6 | 3.6 | Wind | 2007
Tiverton | 0.9 | 0.9 | Wind | 2009
RESL (Renewable Energy Services Ltd)
Goodwood | 0.6 | 0.6 | Wind | 2005
Brookfield | 0.6 | 0.6 | Wind | 2005
Pt. Tupper 1 | 0.8 | 0.8 | Wind | 2006
Tatamagouche (Marshville / River John) | 0.8 | 0.8 | Wind | 2006
Digby | 0.8 | 0.8 | Wind | 2006
Sheerwind North
Fitzpatrick Mountain | 1.6 | 1.6 | Wind | 2007
Subtotal - Existing IPP wind (Post-2001) | 58 | 59.8
Total Existing IPP Renewables (Post-2001) | 60 | 61.8
Total Existing renewables Pre and Post 2001 | 84.845 | 87.58
Incremental Additions in 2010
RESL (Renewable Energy Services Ltd)
Pt. Tupper 3 (Bear Head) | 22 | 22 | Wind | 2010
Sheerwind North
Barney's River (Glen Dhu North) | 60 | 62.1 | Wind | 2010
RMS Energy
Dalhousie Mountain | 51 | 51 | Wind | 2010
Maryvale | 6 | 6 | Wind | 2010
Total Incremental IPP Renewables 2010 | 139 | 141.1
Incremental Additions in 2011
Watts Wind Energy
Watts Section | 1.5 | 1.5 | Wind | 2011
Total Incremental IPP Renewables 2011 | 1.5 | 1.5
Total cumulative IPP wind 2011 | 198.5 | 202.4
Incremental Additions in 2012
Amherst Wind LP (Sprat)
Amherst | 30 | 31.5 | Wind | 2012
Wind Prospect Inc
Fairmont | 4 | 4.6 | Wind | 2012
Colchester-Cumberland Wind Field
Spiddle Hill | 0.8 | 0.8 | Wind | 2012
Confederation Power
Donkin (Lingan II - distribution) | 1.6 | 2.3 | Wind | 2012
Total Incremental IPP Renewables 2012 | 36.4 | 39.2
Total cumulative IPP wind 2012 | 234.9 | 241.6
Incremental Additions in 2013
Scotian Windfields
Granville ferry | 1.99 | 1.99 | Wind | 2013
Black River Wind
Creignish Rear | 2 | 2 | Wind | 2013
Irish Mountain | 2 | 2 | Wind | 2013
South Cape Mabou | 2 | 2 | Wind | 2013
Total Incremental IPP Renewables 2013 | 7.99 | 7.99
Total cumulative IPP wind 2013 | 242.89 | 249.59
Total IPP nameplate capacity | 269.735 | 277.37