## Parameters
APPENDIX A
NB Transmission Tariff Model
Background
The Tariff Model applies the Cost Allocation and Tariff methodolgy approved by the PUB in 2003
Base 2003/04 Tariff data is taken from NB Utilities Board filings and decision
2008/09 Tariff update applies data collected during assessment of NB/HQ sale proposal
Future tariffs for 2015 and 2050 are projections from the known years plus capital upgrades
Tariff Methodology
Transmission Tariff = Transmission Service Revenue Requirement / Usage where
Transmission Service Rev Req= Rev requirement allocated to Schedules 7 and 8 in the NB OATT
Usage = NB 12 Month Coincident Peak Load plus Long Term and Equivalent Short Term Reservations
Schedules 1 and 2 are compulsory services that must be added to the tariff charge
Schedule 1 Rev Reqmt beyond 2009 escalates at 2% as it is predominantly labour
Schedule 2 equal to payment to Genco of $5.6M escalated at 2% and divided by Usage
Data Assumptions
Total base revenue requirement each year is escalated at 1.28%
This accounts for O&M costs and load growth additions
The resulting Transmission Tariff escalates at 1% into the future
Capital upgrade costs of supply alternatives are taken from Figure 3
Capital upgrades assumed to be financed 60/40 debt/equity with interest at 5% and ROE at 9.5%
Rev Reqmt addition for capital upgrades added at 6.8% pretax project carry charge for 45 year life
NB 12CP Load growth at 0.5% reflects aggressive DSM programs
Discount rate for NPV is 6.0%
Study Approach
The Base Case is modelled to determine NB Transmission Customer costs with no transmission upgrades
Compulsory Ancillary Services (Sched 1 and 2) determined in the Base Case are independent of
capital upgrades and must be considered separately from the Transmission Service tariff
Capital upgrade costs are only recovered through the Transmission Service tariff (Sched 7 and 8)
Cases for each supply alternative are modelled to determine incremental cost above baseline
$150M plus 25% for future O&M and Tariff returns allocated to NSPI for the NB-NS interface upgrade
Remaining cost of NB-NS upgrade plus NB-HQ upgrades allocated to NB Tariff
Base model is 35 years to match assumed contract term
End effects recovery costs for years 36 to 45 added as NPV adjustment equal to 10% of capital upgrade
End effects initially allocated 100% to NB Tariff
Cases HQ500 and Hybrid have NSPI paying the NS portion ($150M) and the tariff but no direct assignment.
Cases with "Adj" suffix include direct assignment/end effects based on "Least Cost sharing" (Figure 6)
Cases with "Adj100%" suffix include direct assignment/end effects costs for 100% NS Power cost allocation

## Base
NSPI Transmission Costs Under NB OATT
| Base Case - No Upgrades to the NB System | [7 empty] | 1.28%
|  |  | 2003/04 | 2008/09 | 2015/16 | 2049/50 |  |  |  | Per 10 MW | [5 empty] | 100 | 105.0997
Capital upgrades ($M) | [9 empty] | Nominal | 2015 |  |  |  |  | 0.068
| Project |  | Base | IPL/NRI | HQ/NS |  |  |  | 2015 | 99.441 |  |  | 400 | 5.2 |  | 6.8
| Total Cost (NS#1+HQ#3) | 1 |  | 75 | 0 |  |  |  | 2016 | 100.7338 | 95.0318 |  |  | 5.304 | 4.934 | 6.8 | 6.4151
| NS Tariff Share | 2 |  |  | 0 |  |  |  | 2017 | 102.0433 | 90.8182 |  |  | 5.4101 | 4.6815 | 6.8 | 6.052
| Net NB Tariff Cost | 3=1-2 |  | 75 | 0 |  |  |  | 2018 | 103.3699 | 86.7913 |  |  | 5.5183 | 4.442 | 6.8 | 5.7094
[9 empty] | 2019 | 104.7137 | 82.943 |  |  | 5.6286 | 4.2147 | 6.8 | 5.3862
Revenue Requirements ($M) | [8 empty] | 2020 | 106.0749 | 79.2654 | 400 |  | 5.7412 | 3.9991 | 6.8 | 5.0814
| Transmission Service Rev Req | 4=1-2-3 | 80.5 | 90.9703 | 99.441 | 155.2011 |  |  | 2021 | 107.4539 | 75.7508 |  |  | 5.856 | 3.7945 | 6.8 | 4.7937
| Ancillary Services | [7 empty] | 2022 | 108.8508 | 72.392 |  |  | 5.9732 | 3.6004 | 6.8 | 4.5224
| System Control (Sched 1) | 5 | 4.5 | 7.9 | 9.0746 | 18.1482 |  |  | 2023 | 110.2659 | 69.1822 |  |  | 6.0926 | 3.4162 | 6.8 | 4.2664
| Voltage Control (Sched 2) | 6 | 5.6 | 6.2535 | 7.1833 | 14.3658 |  |  | 2024 | 111.6993 | 66.1147 |  |  | 6.2145 | 3.2414 | 6.8 | 4.0249
| Total Compulsory AS | 7=5+6 | 10.1 | 14.1535 | 16.2579 | 32.5141 |  |  | 2025 | 113.1514 | 63.1832 |  |  | 6.3388 | 3.0755 | 6.8 | 3.7971
[9 empty] | 2026 | 114.6224 | 60.3817 |  |  | 6.4655 | 2.9182 | 6.8 | 3.5822
Usage (MW) | [8 empty] | 2027 | 116.1125 | 57.7044 |  |  | 6.5949 | 2.7689 | 6.8 | 3.3794
| Network | 8 | 2100 | 2100 | 1900 | 2262.3811 |  |  | 2028 | 117.622 | 55.1458 |  |  | 6.7268 | 2.6272 | 6.8 | 3.1881
| Long term firm | 9 | 720 | 1080 | 1080 | 1080 |  |  | 2029 | 119.151 | 52.7006 |  |  | 6.8613 | 2.4928 | 6.8 | 3.0076
| Short term equivalent | 10 | 300 | 250 | 200 | 200 |  |  | 2030 | 120.7 | 50.3639 |  |  | 6.9985 | 2.3653 | 6.8 | 2.8374
| Total usage | 11=8+9+10 | 3120 | 3430 | 3180 | 3542.3811 |  |  | 2031 | 122.2691 | 48.1308 |  |  | 7.1385 | 2.2442 | 6.8 | 2.6768
[9 empty] | 2032 | 123.8586 | 45.9967 |  |  | 7.2813 | 2.1294 | 6.8 | 2.5253
Tariffs ($/kW-yr) | [8 empty] | 2033 | 125.4688 | 43.9572 |  |  | 7.4269 | 2.0205 | 6.8 | 2.3823
| Transmission Service | 12=4/11*1000 | 25.8013 | 26.522 | 31.2708 | 43.8127 | 43.84 | 0.97% | 2034 | 127.0999 | 42.0082 |  |  | 7.5754 | 1.9171 | 6.8 | 2.2475
| Ancillary Services | 13=7/11*1000 | 3.2372 | 4.1264 | 5.1126 | 9.1786 |  |  | 2035 | 128.7522 | 40.1455 |  |  | 7.7269 | 1.819 | 6.8 | 2.1203
[9 empty] | 2036 | 130.4259 | 38.3655 |  |  | 7.8815 | 1.726 | 6.8 | 2.0003
Transmission Customer Costs ($M) | [8 empty] | 2037 | 132.1215 | 36.6644 |  |  | 8.0391 | 1.6376 | 6.8 | 1.887
| Total Reservations | 14=11 |  |  | 3180 | 3542.3811 |  |  | 2038 | 133.839 | 35.0387 |  |  | 8.1999 | 1.5539 | 6.8 | 1.7802
| Tariff Annual charges | 15=14*12/1000 |  |  | 99.441 | 155.2011 |  |  | 2039 | 135.579 | 33.4851 |  |  | 8.3639 | 1.4744 | 6.8 | 1.6795
| Uniform Escalation from 2015 | 15 |  |  | 1.3% |  |  |  | 2040 | 137.3415 | 32.0004 |  |  | 8.5312 | 1.3989 | 6.8 | 1.5844
| 2015 NPV Tariff Cost | 16=npv(15) |  |  | 1705.0411 |  |  |  | 2041 | 139.1269 | 30.5815 |  |  | 8.7018 | 1.3274 | 6.8 | 1.4947
[9 empty] | 2042 | 140.9356 | 29.2255 |  |  | 8.8758 | 1.2594 | 6.8 | 1.4101
[9 empty] | 2043 | 142.7677 | 27.9297 |  |  | 9.0533 | 1.195 | 6.8 | 1.3303
[9 empty] | 2044 | 144.6237 | 26.6913 |  |  | 9.2344 | 1.1339 | 6.8 | 1.255
[9 empty] | 2045 | 146.5038 | 25.5078 |  |  | 9.4191 | 1.0759 | 6.8 | 1.1839
[9 empty] | 2046 | 148.4084 | 24.3768 |  |  | 9.6075 | 1.0208 | 6.8 | 1.1169
[9 empty] | 2047 | 150.3377 | 23.2959 |  |  | 9.7996 | 0.96859 | 6.8 | 1.0537
[9 empty] | 2048 | 152.2921 | 22.263 |  |  | 9.9956 | 0.91903 | 6.8 | 0.99407
[9 empty] | 2049 | 154.2719 | 21.2759 |  |  | 10.1955 | 0.87201 | 6.8 | 0.9378
[9 empty] | 2050 | 156.2774 | 20.3325 |  |  | 10.3994 | 0.8274 | 6.8 | 0.88472
[9 empty] | 2051 | NPV Total | 1705.0411 |  |  |  | 81.0919 | 6.8 | 0.83464 | 98.5881
[9 empty] | 2052 | [6 empty] | 6.8 | 0.78739
[9 empty] | 2053 | [6 empty] | 6.8 | 0.74282
[9 empty] | 2054 |  |  |  | 0.4 | 1.05 | 0.42 | 6.8 | 0.70078
[9 empty] | 2055 |  |  |  | 0.6 | 0.75 | 0.45 | 6.8 | 0.66111
[9 empty] | 2056 | [5 empty] | 0.87 | 6.8 | 0.62369
[9 empty] | 2057 | [6 empty] | 6.8 | 0.58839
[9 empty] | 2058 | [6 empty] | 6.8 | 0.55508
[9 empty] | 2059 | [6 empty] | 6.8 | 0.52366
[9 empty] | 2060 | [6 empty] | 6.8 | 0.49402
105.0997

## HQ500
NSPI Transmission Costs Under NB OATT
| Case HQ500 - 500 MW HQ to NS | [7 empty] | 1.28%
[10 empty] | NS Power |  | NB Power
|  |  | 2003/04 | 2008/09 | 2015/16 | 2050/51 |  |  |  | Nominal | 2015 |  |  | 150
Capital upgrades ($M) | [8 empty] | 2015 | 21.8262 |  | 39.3738 |  | 10.2 |  | 900
| Project |  | Base | IPL/NRI | HQ/NS |  | NS Direct |  | 2016 | 22.0467 | 20.7987 | 39.9329 | 37.6725 | 10.3306 | 9.7458
| Total Cost (NS#1+HQ#3) | 1 |  | 75 | 1050 |  |  |  | 2017 | 22.2693 | 19.8196 | 40.4999 | 36.0448 | 10.4628 | 9.3118
| NS Tariff Share | 2 |  |  | 150 |  | 0 |  | 2018 | 22.4943 | 18.8866 | 41.075 | 34.4874 | 10.5967 | 8.8972
| Net NB Tariff Cost | 3=1-2-Direct |  | 75 | 900 |  |  |  | 2019 | 22.7215 | 17.9975 | 41.6583 | 32.9973 | 10.7324 | 8.501
[9 empty] | 2020 | 22.9509 | 17.1503 | 42.2498 | 31.5715 | 10.8697 | 8.1225
Revenue Requirement ($M) | [8 empty] | 2021 | 23.1827 | 16.3429 | 42.8498 | 30.2074 | 11.0089 | 7.7608 | 0
| Transmission Service Rev Req | 4 | 80.5 | 90.9703 | 160.641 | 250.7181 |  |  | 2022 | 23.4169 | 15.5736 | 43.4583 | 28.9022 | 11.1498 | 7.4152
[9 empty] | 2023 | 23.6534 | 14.8404 | 44.0754 | 27.6534 | 11.2925 | 7.085
Usage (MW) | [8 empty] | 2024 | 23.8923 | 14.1418 | 44.7012 | 26.4586 | 11.437 | 6.7696
| Network | 5 | 2100 | 2100 | 1900 | 2262.3811 |  |  | 2025 | 24.1336 | 13.4761 | 45.336 | 25.3154 | 11.5834 | 6.4681
| Long term firm | 6 | 720 | 1080 | 1580 | 1580 |  |  | 2026 | 24.3774 | 12.8417 | 45.9798 | 24.2216 | 11.7317 | 6.1801
| Short term equivalent | 7 | 300 | 250 | 200 | 200 |  |  | 2027 | 24.6236 | 12.2372 | 46.6327 | 23.175 | 11.8819 | 5.9049
| Total usage | 8=5+6+7 | 3120 | 3430 | 3680 | 4042.3811 |  |  | 2028 | 24.8723 | 11.6611 | 47.2949 | 22.1737 | 12.0339 | 5.642
[9 empty] | 2029 | 25.1235 | 11.1121 | 47.9664 | 21.2156 | 12.188 | 5.3908
Tariff ($/kW-yr) | [8 empty] | 2030 | 25.3772 | 10.589 | 48.6476 | 20.2989 | 12.344 | 5.1507
| Transmission Service | 9=4/8*1000 | 25.8013 | 26.522 | 43.6525 | 62.0224 |  |  | 2031 | 25.6335 | 10.0905 | 49.3384 | 19.4219 | 12.502 | 4.9214
[9 empty] | 2032 | 25.8924 | 9.6155 | 50.039 | 18.5827 | 12.662 | 4.7022
Nova Scotia Tariff costs ($M) | [8 empty] | 2033 | 26.154 | 9.1629 | 50.7495 | 17.7798 | 12.8241 | 4.4928
| NS Firm Reservation (MW) | 10 |  |  | 500 | 500 |  |  | 2034 | 26.4181 | 8.7315 | 51.4702 | 17.0116 | 12.9882 | 4.2928
| Annual charge | 11=9*10/1000 |  |  | 21.8262 | 31.0112 | 31.0264 | Esc = | 2035 | 26.6849 | 8.3205 | 52.201 | 16.2765 | 13.1545 | 4.1016
| 2015 NPV | 12=npv(11) |  |  | 360.1042 |  |  | 1.01% | 2036 | 26.9544 | 7.9288 | 52.9423 | 15.5733 | 13.3229 | 3.919
| Direct Assignment Charge | 13=Direct*125% |  |  | 0 |  |  |  | 2037 | 27.2267 | 7.5555 | 53.6941 | 14.9004 | 13.4934 | 3.7445
| NSPI Tariff Additions | 14=2*125% |  |  | 187.5 |  |  |  | 2038 | 27.5017 | 7.1999 | 54.4565 | 14.2566 | 13.6661 | 3.5778
| End Effects Share | 15=3*10%*Share |  |  | 0 |  |  |  | 2039 | 27.7794 | 6.8609 | 55.2298 | 13.6406 | 13.841 | 3.4184
| Total 2015 NPV cost | 16=12+13+14+15 |  |  | 547.6042 |  | 41.37% |  | 2040 | 28.06 | 6.5379 | 56.0141 | 13.0512 | 14.0182 | 3.2662
[9 empty] | 2041 | 28.3434 | 6.2302 | 56.8095 | 12.4873 | 14.1976 | 3.1208
Other Tx Customer Costs | [8 empty] | 2042 | 28.6297 | 5.9369 | 57.6162 | 11.9477 | 14.3794 | 2.9818
| Total Reservations | 17 | 3120 | 3430 | 3180 | 3542.3811 |  |  | 2043 | 28.9189 | 5.6574 | 58.4343 | 11.4315 | 14.5634 | 2.849
| Annual charge | 18=17*9/1000 |  |  | 138.8148 | 219.7069 |  |  | 2044 | 29.2109 | 5.3911 | 59.2641 | 10.9376 | 14.7498 | 2.7222
| Annual Base Tariff Cost | 19 |  |  | 99.441 | 155.2011 |  |  | 2045 | 29.506 | 5.1373 | 60.1056 | 10.465 | 14.9386 | 2.601
| Share of Upgrade Costs | 20=18-19 |  |  | 39.3738 | 64.5058 |  |  | 2046 | 29.804 | 4.8954 | 60.9591 | 10.0128 | 15.1299 | 2.4852
| NPV Share | 21=npv(22) |  |  | 686.0797 |  |  |  | 2047 | 30.105 | 4.665 | 61.8248 | 9.5802 | 15.3235 | 2.3745
| End Effects Share | 22=3*10%*Share |  |  | 90 |  |  |  | 2048 | 30.4091 | 4.4454 | 62.7027 | 9.1663 | 15.5197 | 2.2688
| Total 2015 NPV Cost | 23=21+22 |  |  | 776.0797 |  | 58.63% |  | 2049 | 30.7162 | 4.2361 | 63.593 | 8.7702 | 15.7183 | 2.1677
[9 empty] | 2050 | 31.0264 | 4.0367 | 64.4961 | 8.3913 | 15.9195 | 2.0712
| Total Additional Cost vs Base | 24 |  |  | 1313 |  |  |  | 2051 | NPV Total | 360.1042 |  | 686.0797 | 16.1233 | 1.979
| Total Tariff Recovery (35 yrs) | 25=16-15+21 |  |  | 1233.6839 | 93.96% |  |  | 2052 |  |  | 1.42% |  | 16.3296 | 1.8909
| Tariff End Effect (Year 35-45) | 26=3*10% |  |  | 90 |  |  |  | 2053 |  |  |  |  | 16.5387 | 1.8067
| Total Cost Recovery | 27=25+26 |  |  | 1323.6839 | 100.8% |  |  | 2054 |  |  |  |  | 16.7504 | 1.7262
[9 empty] | 2055 |  |  |  |  | 16.9648 | 1.6494
[9 empty] | 2056 |  |  |  |  | 17.1819 | 1.5759
[9 empty] | 2057 |  |  |  |  | 17.4018 | 1.5057
[9 empty] | 2058 |  |  |  |  | 17.6246 | 1.4387
[9 empty] | 2059 |  |  |  |  | 17.8502 | 1.3746
[9 empty] | 2060 |  |  |  |  | 18.0787 | 1.3134
[15 empty] | 190.685 | 16.2605

## HQ500Adj
NSPI Transmission Costs Under NB OATT
| Case HQ500Adj - 500 MW HQ to NS with Direct Assignment | [7 empty] | 1.28%
[10 empty] | NS Power |  | NB Power
|  |  | 2003/04 | 2008/09 | 2015/16 | 2050/51 |  |  |  | Nominal | 2015
Capital upgrades ($M) | [8 empty] | 2015 | 19.1284 |  | 22.2156
| Project |  | Base | IPL/NRI | HQ/NS |  | NS Direct |  | 2016 | 19.3213 | 18.2277 | 22.5475 | 21.2712
| Total Cost (NS#1+HQ#3) | 1 |  | 75 | 1050 |  |  |  | 2017 | 19.5162 | 17.3693 | 22.8844 | 20.367
| NS Tariff Share | 2 |  |  | 150 |  | 292 |  | 2018 | 19.713 | 16.5514 | 23.2263 | 19.5012
| Net NB Tariff Cost | 3=1-2-Direct |  | 75 | 608 |  |  |  | 2019 | 19.9118 | 15.772 | 23.5733 | 18.6722
[9 empty] | 2020 | 20.1126 | 15.0293 | 23.9254 | 17.8785
Revenue Requirement ($M) | [8 empty] | 2021 | 20.3154 | 14.3216 | 24.2829 | 17.1185
| Transmission Service Rev Req | 4 (Note) | 80.5 | 90.9703 | 140.785 | 219.7282 |  |  | 2022 | 20.5203 | 13.6472 | 24.6457 | 16.3908
[9 empty] | 2023 | 20.7273 | 13.0045 | 25.0139 | 15.694
Usage (MW) | [8 empty] | 2024 | 20.9363 | 12.3922 | 25.3876 | 15.0269
| Network | 5 | 2100 | 2100 | 1900 | 2262.3811 |  |  | 2025 | 21.1474 | 11.8086 | 25.7669 | 14.3881
| Long term firm | 6 | 720 | 1080 | 1580 | 1580 |  |  | 2026 | 21.3607 | 11.2526 | 26.1518 | 13.7765
| Short term equivalent | 7 | 300 | 250 | 200 | 200 |  |  | 2027 | 21.5761 | 10.7227 | 26.5425 | 13.1908
| Total usage | 8=5+6+7 | 3120 | 3430 | 3680 | 4042.3811 |  |  | 2028 | 21.7937 | 10.2178 | 26.9391 | 12.6301
[9 empty] | 2029 | 22.0135 | 9.7366 | 27.3416 | 12.0932
Tariff ($/kW-yr) | [8 empty] | 2030 | 22.2355 | 9.2781 | 27.75 | 11.5791
| Transmission Service | 9=4/8*1000 | 25.8013 | 26.522 | 38.2568 | 54.3561 |  |  | 2031 | 22.4598 | 8.8412 | 28.1646 | 11.0869
[9 empty] | 2032 | 22.6863 | 8.4249 | 28.5854 | 10.6156
Nova Scotia Tariff costs ($M) | [8 empty] | 2033 | 22.9151 | 8.0282 | 29.0125 | 10.1643
| NS Firm Reservation (MW) | 10 |  |  | 500 | 500 |  |  | 2034 | 23.1462 | 7.6501 | 29.4459 | 9.7323
| Annual charge | 11=9*10/1000 |  |  | 19.1284 | 27.1781 | 27.1773 | Esc = | 2035 | 23.3796 | 7.2899 | 29.8858 | 9.3185
| 2015 NPV | 12=npv(11) |  |  | 315.5313 |  |  | 1.008% | 2036 | 23.6154 | 6.9466 | 30.3323 | 8.9224
| Direct Assignment Charge | 13=Direct*125% |  |  | 365 |  |  |  | 2037 | 23.8535 | 6.6195 | 30.7855 | 8.5431
| NSPI Tariff Additions | 14=2*125% |  |  | 187.5 |  |  |  | 2038 | 24.0941 | 6.3078 | 31.2454 | 8.18
| End Effects Share | 15=3*10%*Share |  |  | 41.9216 |  |  | 68.95 | 2039 | 24.3371 | 6.0107 | 31.7122 | 7.8322
| Total 2015 NPV cost | 16=12+13+14+15 |  |  | 909.9529 |  | 68.95% |  | 2040 | 24.5825 | 5.7277 | 32.186 | 7.4993
[9 empty] | 2041 | 24.8305 | 5.458 | 32.6669 | 7.1805
Other Tx Customer Costs | [8 empty] | 2042 | 25.0809 | 5.201 | 33.1549 | 6.8753
| Total Reservations | 17 | 3120 | 3430 | 3180 | 3542.3811 |  |  | 2043 | 25.3338 | 4.9561 | 33.6503 | 6.583
| Annual charge | 18=17*9/1000 |  |  | 121.6566 | 192.5501 |  |  | 2044 | 25.5893 | 4.7227 | 34.153 | 6.3032
| Annual Base Tariff Cost | 19 |  |  | 99.441 | 155.2011 |  |  | 2045 | 25.8474 | 4.5003 | 34.6632 | 6.0352
| Share of Upgrade Costs | 20=18-19 |  |  | 22.2156 | 37.349 |  |  | 2046 | 26.108 | 4.2884 | 35.1811 | 5.7787
| NPV Share | 21=npv(22) |  |  | 390.989 |  |  | 31.05 | 2047 | 26.3713 | 4.0864 | 35.7067 | 5.533
| End Effects Share | 22=3*10%*Share |  |  | 18.8784 |  |  |  | 2048 | 26.6373 | 3.894 | 36.2402 | 5.2978
| Total 2015 NPV Cost | 23=21+22 |  |  | 409.8674 |  | 31.05% |  | 2049 | 26.9059 | 3.7106 | 36.7816 | 5.0726
[9 empty] | 2050 | 27.1773 | 3.5359 | 37.3311 | 4.857
| Total Additional Cost vs Base | 24 |  |  | 1313 |  |  |  |  | NPV Total | 315.5313 |  | 390.989
| Total Tariff Recovery (35 yrs) | 25=16-15+21 |  |  | 1259.0203 | 95.89% | [5 empty] | 1.494%
| Tariff End Effect (Year 35-45) | 26=3*10% |  |  | 60.8
| Total Cost Recovery | 27=25+26 |  |  | 1319.8203 | 100.5%

## HQ500Adj100
NSPI Transmission Costs Under NB OATT
| Case HQ500Adj100% - 500 MW HQ to NS 100% Cost with Direct Assignment | [7 empty] | 1.28%
[10 empty] | NS Power |  | NB Power
|  |  | 2003/04 | 2008/09 | 2015/16 | 2050/51 |  |  |  | Nominal | 2015
Capital upgrades ($M) | [8 empty] | 2015 | 15.6351 |  | -0.001885
| Project |  | Base | IPL/NRI | HQ/NS |  | NS Direct |  | 2016 | 15.7928 | 14.8988 | -0.0019145 | -0.0018061
| Total Cost (NS#1+HQ#3) | 1 |  | 75 | 1050 |  |  |  | 2017 | 15.952 | 14.1973 | -0.0019444 | -0.0017305
| NS Tariff Share | 2 |  |  | 150 |  | 670.1 |  | 2018 | 16.1129 | 13.5287 | -0.0019747 | -0.001658
| Net NB Tariff Cost | 3=1-2-Direct |  | 75 | 229.9 |  |  |  | 2019 | 16.2754 | 12.8916 | -0.0020056 | -0.0015886
[9 empty] | 2020 | 16.4395 | 12.2846 | -0.0020369 | -0.0015221
Revenue Requirement ($M) | [8 empty] | 2021 | 16.6053 | 11.7061 | -0.0020687 | -0.0014584
| Transmission Service Rev Req | 4 (Note) | 80.5 | 90.9703 | 115.0742 | 179.6004 |  |  | 2022 | 16.7728 | 11.1549 | -0.002101 | -0.0013973
[9 empty] | 2023 | 16.9419 | 10.6296 | -0.0021339 | -0.0013388
Usage (MW) | [8 empty] | 2024 | 17.1128 | 10.129 | -0.0021672 | -0.0012828
| Network | 5 | 2100 | 2100 | 1900 | 2262.3811 |  |  | 2025 | 17.2854 | 9.6521 | -0.002201 | -0.0012291
| Long term firm | 6 | 720 | 1080 | 1580 | 1580 |  |  | 2026 | 17.4597 | 9.1976 | -0.0022354 | -0.0011776
| Short term equivalent | 7 | 300 | 250 | 200 | 200 |  |  | 2027 | 17.6358 | 8.7644 | -0.0022703 | -0.0011283
| Total usage | 8=5+6+7 | 3120 | 3430 | 3680 | 4042.3811 |  |  | 2028 | 17.8136 | 8.3517 | -0.0023058 | -0.0010811
[9 empty] | 2029 | 17.9933 | 7.9584 | -0.0023418 | -0.0010358
Tariff ($/kW-yr) | [8 empty] | 2030 | 18.1747 | 7.5837 | -0.0023784 | -0.00099242
| Transmission Service | 9=4/8*1000 | 25.8013 | 26.522 | 31.2702 | 44.4294 |  |  | 2031 | 18.358 | 7.2266 | -0.0024156 | -0.00095087
[9 empty] | 2032 | 18.5432 | 6.8863 | -0.0024533 | -0.00091106
Nova Scotia Tariff costs ($M) | [8 empty] | 2033 | 18.7302 | 6.562 | -0.0024916 | -0.00087292
| NS Firm Reservation (MW) | 10 |  |  | 500 | 500 |  |  | 2034 | 18.9191 | 6.253 | -0.0025305 | -0.00083637
| Annual charge | 11=9*10/1000 |  |  | 15.6351 | 22.2147 | 22.214 | Esc = | 2035 | 19.1099 | 5.9585 | -0.00257 | -0.00080135
| 2015 NPV | 12=npv(11) |  |  | 257.9072 |  |  | 1.008% | 2036 | 19.3026 | 5.678 | -0.0026102 | -0.0007678
| Direct Assignment Charge | 13=Direct*125% |  |  | 837.625 |  |  |  | 2037 | 19.4973 | 5.4106 | -0.002651 | -0.00073566
| NSPI Tariff Additions | 14=2*125% |  |  | 187.5 |  |  |  | 2038 | 19.6939 | 5.1558 | -0.0026924 | -0.00070486
| End Effects Share | 15=3*10%*Share |  |  | 22.99 |  |  | 100 | 2039 | 19.8925 | 4.913 | -0.0027344 | -0.00067534
| Total 2015 NPV cost | 16=12+13+14+15 |  |  | 1306.0222 |  | 100% |  | 2040 | 20.0931 | 4.6817 | -0.0027771 | -0.00064707
[9 empty] | 2041 | 20.2957 | 4.4612 | -0.0028205 | -0.00061998
Other Tx Customer Costs | [8 empty] | 2042 | 20.5004 | 4.2511 | -0.0028646 | -0.00059402
| Total Reservations | 17 | 3120 | 3430 | 3180 | 3542.3811 |  |  | 2043 | 20.7072 | 4.0509 | -0.0029093 | -0.00056915
| Annual charge | 18=17*9/1000 |  |  | 99.4391 | 157.3857 |  |  | 2044 | 20.916 | 3.8602 | -0.0029548 | -0.00054532
| Annual Base Tariff Cost | 19 |  |  | 99.441 | 155.2011 |  |  | 2045 | 21.1269 | 3.6784 | -0.0030009 | -0.00052249
| Share of Upgrade Costs | 20=18-19 |  |  | -0.001885 | 2.1846 |  |  | 2046 | 21.34 | 3.5052 | -0.0030478 | -0.00050061
| NPV Share | 21=npv(22) |  |  | -0.033483 |  |  | 0 | 2047 | 21.5552 | 3.3401 | -0.0030954 | -0.00047965
| End Effects Share | 22=3*10%*Share |  |  | 0 |  |  |  | 2048 | 21.7726 | 3.1829 | -0.0031437 | -0.00045957
| Total 2015 NPV Cost | 23=21+22 |  |  | -0.033483 |  | -0.002564% |  | 2049 | 21.9922 | 3.033 | -0.0031929 | -0.00044033
[9 empty] | 2050 | 22.214 | 2.8902 | -0.0032427 | -0.0004219
| Total Additional Cost vs Base | 24 |  |  | 1313 |  |  |  |  | NPV Total | 257.9072 |  | -0.033483
| Total Tariff Recovery (35 yrs) | 25=16-15+21 |  |  | 1282.9987 | 97.72% | [5 empty] | 1.562%
| Tariff End Effect (Year 35-45) | 26=3*10% |  |  | 22.99
| Total Cost Recovery | 27=25+26 |  |  | 1305.9887 | 99.47%

## Hybrid
NSPI Transmission Costs Under NB OATT
| Case Hybrid - HQ 165MW plus NE 335MW | [7 empty] | 1.28%
[10 empty] | NS Power |  | NB Power
|  |  | 2003/04 | 2008/09 | 2015/16 | 2050/51 |  |  |  | Nominal | 2015 |  |  |  |  | 0.105
Capital upgrades ($M) | [8 empty] | 2015 | 19.5164 |  | 24.6836 |  | 2016 | 81 | 771.4286
| Project |  | Base | IPL/NRI | HQ/NS |  | NS Direct |  | 2016 | 19.7136 | 18.5977 | 25.0489 | 23.631 | 2050 | 161.9911 | 122.7455
| Total Cost (NS#1+HQ#3) | 1 |  | 75 | 800 |  |  |  | 2017 | 19.9127 | 17.7222 | 25.4196 | 22.6234 |  |  | 648.6831
| NS Tariff Share | 2 |  |  | 150 |  | 0 |  | 2018 | 20.1138 | 16.8879 | 25.7958 | 21.6587
| Net NB Tariff Cost | 3=1-2-Direct |  | 75 | 650 |  |  |  | 2019 | 20.3169 | 16.0929 | 26.1776 | 20.7351 |  | 60 | 0.075
[9 empty] | 2020 | 20.5221 | 15.3353 | 26.565 | 19.8509 |  | 40 | 0.105
Revenue Requirement ($M) | [8 empty] | 2021 | 20.7294 | 14.6134 | 26.9582 | 19.0044
| Transmission Service Rev Req | 4 | 80.5 | 90.9703 | 143.641 | 224.1856 |  |  | 2022 | 20.9388 | 13.9255 | 27.3572 | 18.1941
[9 empty] | 2023 | 21.1503 | 13.2699 | 27.762 | 17.4182
Usage (MW) | [8 empty] | 2024 | 21.3639 | 12.6452 | 28.1729 | 16.6755
| Network | 5 | 2100 | 2100 | 1900 | 2262.3811 |  |  | 2025 | 21.5796 | 12.05 | 28.5899 | 15.9644
| Long term firm | 6 | 720 | 1080 | 1580 | 1580 |  |  | 2026 | 21.7976 | 11.4827 | 29.013 | 15.2837
| Short term equivalent | 7 | 300 | 250 | 200 | 200 |  |  | 2027 | 22.0178 | 10.9422 | 29.4424 | 14.632
| Total usage | 8=5+6+7 | 3120 | 3430 | 3680 | 4042.3811 |  |  | 2028 | 22.2401 | 10.427 | 29.8781 | 14.008
[9 empty] | 2029 | 22.4648 | 9.9362 | 30.3203 | 13.4107
Tariff ($/kW-yr) | [8 empty] | 2030 | 22.6917 | 9.4684 | 30.7691 | 12.8389
| Transmission Service | 9=4/8*1000 | 25.8013 | 26.522 | 39.0329 | 55.4588 |  |  | 2031 | 22.9208 | 9.0227 | 31.2245 | 12.2914
[9 empty] | 2032 | 23.1523 | 8.598 | 31.6866 | 11.7673
Nova Scotia Tariff costs ($M) | [8 empty] | 2033 | 23.3862 | 8.1932 | 32.1556 | 11.2655
| NS Firm Reservation (MW) | 10 |  |  | 500 | 500 |  |  | 2034 | 23.6224 | 7.8075 | 32.6315 | 10.7851
| Annual charge | 11=9*10/1000 |  |  | 19.5164 | 27.7294 | 27.743 | Esc = | 2035 | 23.861 | 7.44 | 33.1144 | 10.3252
| 2015 NPV | 12=npv(11) |  |  | 321.9958 |  |  | 1.01% | 2036 | 24.102 | 7.0897 | 33.6045 | 9.8849
| Direct Assignment Charge | 13=Direct*125% |  |  | 0 |  |  |  | 2037 | 24.3454 | 6.756 | 34.1018 | 9.4634
| NSPI Tariff Additions | 14=2*125% |  |  | 187.5 |  |  |  | 2038 | 24.5913 | 6.4379 | 34.6065 | 9.0599
| End Effects Share | 15=3*10%*Share |  |  | 0 |  |  |  | 2039 | 24.8397 | 6.1349 | 35.1187 | 8.6736
| Total 2015 NPV cost | 16=12+13+14+15 |  |  | 509.4958 |  | 50.54% |  | 2040 | 25.0905 | 5.8461 | 35.6385 | 8.3037
[9 empty] | 2041 | 25.344 | 5.5709 | 36.1659 | 7.9496
Other Tx Customer Costs | [8 empty] | 2042 | 25.5999 | 5.3086 | 36.7012 | 7.6106
| Total Reservations | 17 | 3120 | 3430 | 3180 | 3542.3811 |  |  | 2043 | 25.8585 | 5.0587 | 37.2444 | 7.2861
| Annual charge | 18=17*9/1000 |  |  | 124.1246 | 196.4562 |  |  | 2044 | 26.1197 | 4.8206 | 37.7956 | 6.9754
| Annual Base Tariff Cost | 19 |  |  | 99.441 | 155.2011 |  |  | 2045 | 26.3835 | 4.5936 | 38.355 | 6.678
| Share of Upgrade Costs | 20=18-19 |  |  | 24.6836 | 41.2551 |  |  | 2046 | 26.6499 | 4.3774 | 38.9226 | 6.3932
| NPV Share | 21=npv(22) |  |  | 433.6027 |  |  |  | 2047 | 26.9191 | 4.1713 | 39.4987 | 6.1206
| End Effects Share | 22=3*10%*Share |  |  | 65 |  |  |  | 2048 | 27.191 | 3.9749 | 40.0832 | 5.8596
| Total 2015 NPV Cost | 23=21+22 |  |  | 498.6027 |  | 49.46% |  | 2049 | 27.4656 | 3.7878 | 40.6765 | 5.6098
[9 empty] | 2050 | 27.743 | 3.6095 | 41.2785 | 5.3705
| Total Additional Cost vs Base | 24 |  |  | 1000 |  |  |  | 2051 | NPV Total | 321.9958 |  | 433.6027
| Total Tariff Recovery (35 yrs) | 25=16-15+21 |  |  | 943.0985 | 94.31% |  |  | 2052 |  |  | 1.48%
| Tariff End Effect (Year 35-45) | 26=3*10% |  |  | 65 |  |  |  | 2053
| Total Cost Recovery | 27=25+26 |  |  | 1008.0985 | 100.8% |  |  | 2054
2055
2056
2057
2058
2059
2060

## HybridAdj
NSPI Transmission Costs Under NB OATT
| Case Hybrid Adj - HQ 165MW plus NE 335MW with Direct Assignment Chg | [7 empty] | 1.28%
[10 empty] | NS Power |  | NB Power
|  |  | 2003/04 | 2008/09 | 2015/16 | 2050/51 |  |  |  | Nominal | 2015
Capital upgrades ($M) | [8 empty] | 2015 | 18.951 |  | 21.0874 |  | 2016
| Project |  | Base | IPL/NRI | HQ/NS |  | NS Direct |  | 2016 | 19.1421 | 18.0586 | 21.4045 | 20.193 | 2050
| Total Cost (NS#1+HQ#3) | 1 |  | 75 | 800 |  |  |  | 2017 | 19.3352 | 17.2082 | 21.7265 | 19.3365
| NS Tariff Share | 2 |  |  | 150 |  | 61.2 |  | 2018 | 19.5302 | 16.3979 | 22.0532 | 18.5163
| Net NB Tariff Cost | 3=1-2-Direct |  | 75 | 588.8 |  |  |  | 2019 | 19.7271 | 15.6257 | 22.3849 | 17.731
[9 empty] | 2020 | 19.9261 | 14.8899 | 22.7216 | 16.9789
Revenue Requirement ($M) | [8 empty] | 2021 | 20.127 | 14.1888 | 23.0633 | 16.2587
| Transmission Service Rev Req | 4 | 80.5 | 90.9703 | 139.4794 | 217.6905 |  |  | 2022 | 20.33 | 13.5206 | 23.4102 | 15.5691
[9 empty] | 2023 | 20.535 | 12.8839 | 23.7623 | 14.9087
Usage (MW) | [8 empty] | 2024 | 20.7421 | 12.2772 | 24.1197 | 14.2764
| Network | 5 | 2100 | 2100 | 1900 | 2262.3811 |  |  | 2025 | 20.9513 | 11.6991 | 24.4824 | 13.6709
| Long term firm | 6 | 720 | 1080 | 1580 | 1580 |  |  | 2026 | 21.1626 | 11.1482 | 24.8506 | 13.091
| Short term equivalent | 7 | 300 | 250 | 200 | 200 |  |  | 2027 | 21.376 | 10.6232 | 25.2244 | 12.5358
| Total usage | 8=5+6+7 | 3120 | 3430 | 3680 | 4042.3811 |  |  | 2028 | 21.5916 | 10.123 | 25.6038 | 12.004
[9 empty] | 2029 | 21.8094 | 9.6463 | 25.9888 | 11.4949
Tariff ($/kW-yr) | [8 empty] | 2030 | 22.0293 | 9.1921 | 26.3797 | 11.0073
| Transmission Service | 9=4/8*1000 | 25.8013 | 26.522 | 37.902 | 53.852 |  |  | 2031 | 22.2515 | 8.7592 | 26.7765 | 10.5405
[9 empty] | 2032 | 22.4759 | 8.3467 | 27.1792 | 10.0934
Nova Scotia Tariff costs ($M) | [8 empty] | 2033 | 22.7026 | 7.9537 | 27.588 | 9.6653
| NS Firm Reservation (MW) | 10 |  |  | 500 | 500 |  |  | 2034 | 22.9315 | 7.5792 | 28.0029 | 9.2553
| Annual charge | 11=9*10/1000 |  |  | 18.951 | 26.926 | 26.9252 | Esc = | 2035 | 23.1628 | 7.2223 | 28.4241 | 8.8628
| 2015 NPV | 12=npv(11) |  |  | 312.6052 |  |  | 1.008% | 2036 | 23.3964 | 6.8822 | 28.8515 | 8.4868
| Direct Assignment Charge | 13=Direct*125% |  |  | 76.5 |  |  |  | 2037 | 23.6323 | 6.5581 | 29.2855 | 8.1269
| NSPI Tariff Additions | 14=2*125% |  |  | 187.5 |  |  |  | 2038 | 23.8707 | 6.2493 | 29.7259 | 7.7822
| End Effects Share | 15=3*10%*Share |  |  | 35.8049 |  |  | 60.81 | 2039 | 24.1114 | 5.955 | 30.173 | 7.4521
| Total 2015 NPV cost | 16=12+13+14+15 |  |  | 612.4101 |  | 60.81% |  | 2040 | 24.3546 | 5.6746 | 30.6268 | 7.136
[9 empty] | 2041 | 24.6002 | 5.4074 | 31.0874 | 6.8333
Other Tx Customer Costs | [8 empty] | 2042 | 24.8483 | 5.1527 | 31.555 | 6.5435
| Total Reservations | 17 | 3120 | 3430 | 3180 | 3542.3811 |  |  | 2043 | 25.0989 | 4.9101 | 32.0296 | 6.266
| Annual charge | 18=17*9/1000 |  |  | 120.5284 | 190.7644 |  |  | 2044 | 25.352 | 4.6789 | 32.5113 | 6.0002
| Annual Base Tariff Cost | 19 |  |  | 99.441 | 155.2011 |  |  | 2045 | 25.6077 | 4.4586 | 33.0003 | 5.7457
| Share of Upgrade Costs | 20=18-19 |  |  | 21.0874 | 35.5633 |  |  | 2046 | 25.8659 | 4.2486 | 33.4966 | 5.502
| NPV Share | 21=npv(22) |  |  | 371.6354 |  |  |  | 2047 | 26.1268 | 4.0485 | 34.0004 | 5.2686
| End Effects Share | 22=3*10%*Share |  |  | 23.0751 |  |  | 39.19 | 2048 | 26.3903 | 3.8579 | 34.5118 | 5.0451
| Total 2015 NPV Cost | 23=21+22 |  |  | 394.7105 |  | 39.19% |  | 2049 | 26.6564 | 3.6762 | 35.0308 | 4.8312
[9 empty] | 2050 | 26.9252 | 3.5031 | 35.5577 | 4.6262
| Total Additional Cost vs Base | 24 |  |  | 1000 |  |  |  | 2051 | NPV Total | 312.6052 |  | 371.6354
| Total Tariff Recovery (35 yrs) | 25=16-15+21 |  |  | 948.2406 | 94.82% |  |  | 2052 |  |  | 1.504%
| Tariff End Effect (Year 35-45) | 26=3*10% |  |  | 58.88 |  |  |  | 2053
| Total Cost Recovery | 27=25+26 |  |  | 1007.1206 | 100.7% |  |  | 2054
2055
2056
2057
2058
2059
2060

## HybridAdj100%
NSPI Transmission Costs Under NB OATT
| Case HybridAdj100% - HQ 165MW & NE 335MW 100% Cost with Direct Assignmt | [7 empty] | 1.28%
[10 empty] | NS Power |  | NB Power
|  |  | 2003/04 | 2008/09 | 2015/16 | 2050/51 |  |  |  | Nominal | 2015
Capital upgrades ($M) | [8 empty] | 2015 | 15.6351 |  | -0.001885 |  | 2016
| Project |  | Base | IPL/NRI | HQ/NS |  | NS Direct |  | 2016 | 15.7928 | 14.8988 | -0.0018984 | -0.0017909 | 2050
| Total Cost (NS#1+HQ#3) | 1 |  | 75 | 800 |  |  |  | 2017 | 15.952 | 14.1973 | -0.0019119 | -0.0017016
| NS Tariff Share | 2 |  |  | 150 |  | 420.1 |  | 2018 | 16.1129 | 13.5287 | -0.0019255 | -0.0016167
| Net NB Tariff Cost | 3=1-2-Direct |  | 75 | 229.9 |  |  |  | 2019 | 16.2754 | 12.8916 | -0.0019391 | -0.001536
[9 empty] | 2020 | 16.4395 | 12.2846 | -0.0019529 | -0.0014593
Revenue Requirement ($M) | [8 empty] | 2021 | 16.6053 | 11.7061 | -0.0019668 | -0.0013865
| Transmission Service Rev Req | 4 | 80.5 | 90.9703 | 115.0742 | 179.6004 |  |  | 2022 | 16.7728 | 11.1549 | -0.0019807 | -0.0013173
[9 empty] | 2023 | 16.9419 | 10.6296 | -0.0019948 | -0.0012516
Usage (MW) | [8 empty] | 2024 | 17.1128 | 10.129 | -0.002009 | -0.0011891
| Network | 5 | 2100 | 2100 | 1900 | 2262.3811 |  |  | 2025 | 17.2854 | 9.6521 | -0.0020232 | -0.0011298
| Long term firm | 6 | 720 | 1080 | 1580 | 1580 |  |  | 2026 | 17.4597 | 9.1976 | -0.0020376 | -0.0010734
| Short term equivalent | 7 | 300 | 250 | 200 | 200 |  |  | 2027 | 17.6358 | 8.7644 | -0.002052 | -0.0010198
| Total usage | 8=5+6+7 | 3120 | 3430 | 3680 | 4042.3811 |  |  | 2028 | 17.8136 | 8.3517 | -0.0020666 | -0.00096891
[9 empty] | 2029 | 17.9933 | 7.9584 | -0.0020813 | -0.00092056
Tariff ($/kW-yr) | [8 empty] | 2030 | 18.1747 | 7.5837 | -0.0020961 | -0.00087462
| Transmission Service | 9=4/8*1000 | 25.8013 | 26.522 | 31.2702 | 44.4294 |  |  | 2031 | 18.358 | 7.2266 | -0.0021109 | -0.00083097
[9 empty] | 2032 | 18.5432 | 6.8863 | -0.0021259 | -0.0007895
Nova Scotia Tariff costs ($M) | [8 empty] | 2033 | 18.7302 | 6.562 | -0.002141 | -0.0007501
| NS Firm Reservation (MW) | 10 |  |  | 500 | 500 |  |  | 2034 | 18.9191 | 6.253 | -0.0021562 | -0.00071266
| Annual charge | 11=9*10/1000 |  |  | 15.6351 | 22.2147 | 22.214 | Esc = | 2035 | 19.1099 | 5.9585 | -0.0021715 | -0.0006771
| 2015 NPV | 12=npv(11) |  |  | 257.9072 |  |  | 1.008% | 2036 | 19.3026 | 5.678 | -0.002187 | -0.00064331
| Direct Assignment Charge | 13=Direct*125% |  |  | 525.125 |  |  |  | 2037 | 19.4973 | 5.4106 | -0.0022025 | -0.0006112
| NSPI Tariff Additions | 14=2*125% |  |  | 187.5 |  |  |  | 2038 | 19.6939 | 5.1558 | -0.0022181 | -0.0005807
| End Effects Share | 15=3*10%*Share |  |  | 22.99 |  |  | 100 | 2039 | 19.8925 | 4.913 | -0.0022339 | -0.00055172
| Total 2015 NPV cost | 16=12+13+14+15 |  |  | 993.5222 |  | 100% |  | 2040 | 20.0931 | 4.6817 | -0.0022497 | -0.00052419
[9 empty] | 2041 | 20.2957 | 4.4612 | -0.0022657 | -0.00049803
Other Tx Customer Costs | [8 empty] | 2042 | 20.5004 | 4.2511 | -0.0022818 | -0.00047317
| Total Reservations | 17 | 3120 | 3430 | 3180 | 3542.3811 |  |  | 2043 | 20.7072 | 4.0509 | -0.002298 | -0.00044956
| Annual charge | 18=17*9/1000 |  |  | 99.4391 | 157.3857 |  |  | 2044 | 20.916 | 3.8602 | -0.0023143 | -0.00042712
| Annual Base Tariff Cost | 19 |  |  | 99.441 | 155.2011 |  |  | 2045 | 21.1269 | 3.6784 | -0.0023307 | -0.00040581
| Share of Upgrade Costs | 20=18-19 |  |  | -0.001885 | 2.1846 |  |  | 2046 | 21.34 | 3.5052 | -0.0023473 | -0.00038555
| NPV Share | 21=npv(22) |  |  | -0.029906 |  |  |  | 2047 | 21.5552 | 3.3401 | -0.002364 | -0.00036631
| End Effects Share | 22=3*10%*Share |  |  | 0 |  |  | 0 | 2048 | 21.7726 | 3.1829 | -0.0023807 | -0.00034803
| Total 2015 NPV Cost | 23=21+22 |  |  | -0.029906 |  | -0.00301% |  | 2049 | 21.9922 | 3.033 | -0.0023976 | -0.00033066
[9 empty] | 2050 | 22.214 | 2.8902 | -0.0024147 | -0.00031416
| Total Additional Cost vs Base | 24 |  |  | 1000 |  |  |  | 2051 | NPV Total | 257.9072 |  | -0.029906
| Total Tariff Recovery (35 yrs) | 25=16-15+21 |  |  | 970.5023 | 97.05% |  |  | 2052 |  |  | 0.71%
| Tariff End Effect (Year 35-45) | 26=3*10% |  |  | 22.99 |  |  |  | 2053
| Total Cost Recovery | 27=25+26 |  |  | 993.4923 | 99.35% |  |  | 2054
2055
2056
2057
2058
2059
2060